## Sheet1
1 |  |  | # | Finse | Ny-Ålesund | Bernd | Austfonna | Andreas | Testing | Total need | In stock | Ordered | To order | Link
2 | Staions |  |  | 10 | 10 | 6 | 2 | 4 | 2 | 34 |  |  | 34
3 | Mast | Ground Anchor (Rock) |  | 0 | ? | ? | ? |  | 0 | 0 |  |  | 0 | https://www.dahl.no/
4 |  | Ground Anchor (Screw-pile) |  | 0 | ? | ? | ? |  | 0 | 0 |  |  | 0 | http://paalupiste.com/en/screw-pile
5 |  | Long U-bracket |  | 10 | ? | ? | ? |  | 0 | 10 |  |  | 10 | https://shopdelta.eu/avstandsklemme-ozp-60_l28_p3997.html
6 |  | Aluminium pole 60mm, 2,5m |  | 10 | ? | ? | ? |  | 0 | 10 |  |  | 10 | https://www.dahl.no/
7 |  | 60mm bracket | 4 | 40 | 40 | 24 | 8 |  | 8 | 120 |  |  | 120 | https://shopdelta.eu/klemme-kl-60_l28_p7845.html
8 |  | M5 threaded rod, 110 mm | 4 | 40 | 40 | 24 | 8 |  | 8 | 120 |  |  | 120 | https://www.mn.uio.no/tjenester/instrumentverksted/index.html
9 |  | M5 nuts and washers | 4 | 40 | 40 | 24 | 8 |  | 8 | 120 |  |  | 120 | https://www.mn.uio.no/tjenester/instrumentverksted/index.html
10 |  | T-slot nuts and screw M5 | 4 | 40 | 40 | 24 | 8 |  | 8 | 120 | 120 |  | 0 | https://product.item24.de/en/products/product-catalogue/productdetails/products/fastening-sets-1001389331/fastening-set-5-2-4mm-with-countersunk-screw-m5-68092/
11 |  | T-slot nuts bar, 90 mm | 2 | 20 | 20 | 12 | 4 |  | 4 | 60 | 60 |  | 0 | AluFlex.no
12 |  | T-slot nuts bar, 240 mm | 1 | 10 | 10 | 6 | 2 |  | 2 | 30 | 30 |  | 0 | AluFlex.no
13 |  | Aluflex 20x60, L=790mm | 1 | 10 | 10 | 6 | 2 |  | 2 | 30 | 30 |  | 0 | AluFlex.no
14 |  | Radiation shield bracket | 1 | 10 | 10 | 6 | 2 |  | 2 | 30 |  | 30 | 0 | https://www.mn.uio.no/tjenester/instrumentverksted/index.html
15 |  | Maxbotix bracket | 1 | 10 | 10 | 6 | 2 |  | 2 | 30 |  | 30 | 0 | https://www.mn.uio.no/tjenester/instrumentverksted/index.html
16 |  | Radiation shield | 1 | 10 | 10 | 6 | 2 |  | 2 | 30 | 10 |  | 20 | https://www.elit.no/catalog/product/view/id/768/s/rs3/category/171/
17
18
19
20 | Box | Box | 1 | 10 | 10 | 6 | 2 |  | 2 | 30 | 30 |  | 0 | https://www.elfadistrelec.no/no/plastinnkapsling-120-240-60-mm-morkegra-abs-ip-65-rnd-components-rnd-455-00149/p/30064370?q=*&filter_Beskyttelsesgrad=IP+65&filter_Beskyttelsesgrad=IP+66&filter_Beskyttelsesgrad=IP+66%2F67&filter_Category2=Plastbokser&filter_Dybde~~mm=240&filter_Buyable=1&page=2&origPos=834&origPageSize=50&simi=100.0
21 |  | Cable glands M16x8 | 2 | 20 | 20 | 12 | 4 |  | 4 | 60 |  |  | 60 | https://www.elfadistrelec.no/no/kabelgjennomforing-polyamid-m16-mm-lapp-skintop-str-16x1-ral-9005-bk/p/15519376
22 |  | Cable gland nut M16 | 2 | 20 | 20 | 12 | 4 |  | 4 | 60 |  |  | 60 | https://www.elfadistrelec.no/no/lasemutter-m16-svart-lapp-skintop-gmp-gl-16x1-ral-9005-bk/p/15519735
23 |  | Solar panel | 1 | 10 | 10 | 6 | 2 |  | 2 | 30 | 28 |  | 2 | https://www.digikey.no/product-detail/en/sparkfun-electronics/PRT-13782/1568-1371-ND/5994157
24 |  | M5x15 flathead | 5 | 50 | 50 | 30 | 10 |  | 10 | 150 |  |  | 150 | https://www.mn.uio.no/tjenester/instrumentverksted/index.html
25 |  | Standoffs Backplate and waspmote 6mm | 6 | 60 | 60 | 36 | 12 |  | 12 | 180 |  |  | 180 | https://www.digikey.no/product-detail/en/essentra-components/CBMFTS210A/RPC1917-ND/4104489
26 |  | Standoffs Iridium 30mm | 2 | 20 | 20 | 12 | 4 |  | 4 | 60 |  |  | 60 | https://www.digikey.no/product-detail/en/essentra-components/CBMFTS335A/RPC2232-ND/4104514
27 |  | M3 screws | 8 | 80 | 80 | 48 | 16 |  | 16 | 240 |  |  | 240 | https://www.digikey.no/product-detail/en/keystone-electronics/29341/36-29341-ND/1532216
28 |  | M3 nuts | 4 | 40 | 40 | 24 | 8 |  | 8 | 120 |  |  | 120 | https://www.digikey.no/product-detail/en/keystone-electronics/29341/36-29341-ND/1532216
29 |  | mini USB cable 90 deg up |  | 2 | 2 | 2 | 2 |  | 2 | 10 |  |  | 10 | https://no.farnell.com/tripp-lite/ur030-003-dnb/usb-cable-2-0-type-a-mini-b-plug/dp/2611809#anchorTechnicalDOCS
30
31
32 | Waspmote and boards | Waspmote | 1 | 10 | 10 | 6 | 2 | 4 | 2 | 34 |  |  | 34 | http://www.libelium.com/
33 |  | Sd-card | 1 | 10 | 10 | 6 | 2 | 4 | 2 | 34 |  |  | 34 | http://www.libelium.com/
34 |  | Gps | 1 | 10 | 10 | 2 | 2 | 4 | 2 | 30 |  |  | 30 | http://www.libelium.com/
35 |  | Xbee |  | 10 | 0 | 0 | 0 |  | 2 | 12 | 13 |  | -1 | http://www.libelium.com/
36 |  | Pigtail Xbee, R.P. SMA |  | 10 | 0 | 0 | 0 |  | 2 | 12 |  |  | 12 | https://no.farnell.com/multicomp/mc000792/rf-coax-cable-ip67-rpsma-rpsma/dp/2452685?st=R.P.%20SMA
37 |  | Antenna xbee R.P. SMA |  | 10 | 0 | 0 | 0 |  | 2 | 12 | 18 |  | -6 | http://www.libelium.com/
38 |  | Iridium |  | 0 | 2 | 2 | 2 |  | 0 | 6 |  |  | 6 | http://www.rock7mobile.com/products-rockblock-9603
39 |  | 4G |  | 0 | 1 | 4 | 0 | 2 | 1 | 8 | 1 |  | 7 | http://www.libelium.com/
40 |  | Pigtail 4G, u.fl to SMA |  | 0 | 3 | 12 | 0 | 6 | 3 | 24 | 28 |  | -4 | https://www.digikey.no/product-detail/en/CAB.719/931-1187-ND/3664639/?itemSeq=277471967
41 |  | Antenna 4G SMA |  | 0 | 3 | 12 | 0 | 6 | 3 | 24 | 3 |  | 21 | http://www.libelium.com/
42
43 |  | Backplate (PCBA???) | 1 | 10 | 10 | 6 | 2 |  | 2 | 30 |  |  | 30 | https://www.seeedstudio.com/
44 |  | Waspmote battery pack | 1 | 10 | 0 | 0 | 0 | 4 | 2 | 16 |  |  | 16 | http://www.libelium.com/
45 |  | Battery 18650 | 5 | 0 | 50 | 30 | 10 |  | 20 | 110 |  |  | 110 | https://altitec.no/sanyo-ncr18650ga-li-ion-batteri-3-4ah-uten-sikkerhetskrets.html
46 |  | Battery holders | 5 | 50 | 50 | 30 | 10 |  | 10 | 150 | 100 |  | 50 | https://no.farnell.com/keystone/1042p/battery-holder-18650-smd/dp/2674338?st=BATTERY%20HOLDER%2018650%20SMD%20TAB
47 |  | Components for backplate prototype ??? |  | 0 | 0 | 0 | 0 |  | 0 | 0 |  |  | 0
48 |  | Battery connecter | 1 | 10 | 10 | 6 | 2 |  | 2 | 30 |  |  | 30 | https://www.digikey.no/product-detail/en/hirose-electric-co-ltd/DF13-3S-1.25C/H2180-ND/241749
49 |  | Solar panel connector | 1 | 10 | 10 | 6 | 2 |  | 2 | 30 |  |  | 30 | https://www.digikey.no/product-detail/en/hirose-electric-co-ltd/DF13-2S-1.25C/H2179-ND/241748
50 |  | Black 26 AWG Jumper | 2 | 20 | 20 | 12 | 4 |  | 4 | 60 |  |  | 60 | https://www.digikey.no/product-detail/en/hirose-electric-co-ltd/H4BBG-10102-B6/H4BBG-10102-B6-ND/425551
51 |  | Red 26 AWG Jumper | 1 | 10 | 10 | 6 | 2 |  | 2 | 30 |  |  | 30 | https://www.digikey.no/product-detail/en/hirose-electric-co-ltd/H4BBG-10102-R6/H4BBG-10102-R6-ND/425583
52 |  | Yellow 26 AWG Jumper | 1 | 10 | 10 | 6 | 2 |  | 2 | 30 |  |  | 30 | https://www.digikey.no/product-detail/en/hirose-electric-co-ltd/H4BBG-10102-Y6/H4BBG-10102-Y6-ND/425615
53
54 |  | FFC Cable (flat usb) | 1 | 10 | 10 | 6 | 2 |  | 2 | 30 | 10 |  | 20 | http://no.farnell.com/wurth-elektronik/686604200001/cable-assy-ffc-ffc-4-core-200mm/dp/2827780
55 |  | FFC contact | 1 | 10 | 10 | 6 | 2 |  | 2 | 30 | 30 |  | 0 | http://no.farnell.com/wurth-elektronik/68610414422/connector-fpc-zif-4pos-1mm/dp/2520119?st=68610414422
56
57 |  | Lemming board | 1 | 10 | 10 | 6 | 2 |  | 2 | 30 |  |  | 30 | https://www.seeedstudio.com/
58 |  | Headers 12x1 | 1 | 10 | 10 | 6 | 2 |  | 2 | 30 | 10 |  | 20 | https://www.digikey.no/products/en?keywords=SAM1206-12-nd
59 |  | Headers 12x2 | 1 | 10 | 10 | 6 | 2 |  | 2 | 30 | 10 |  | 20 | https://www.digikey.no/products/en?keywords=SAM1204-12-ND
60 |  | Screw terminals 3 pos | 6 | 60 | 60 | 36 | 12 |  | 12 | 180 |  |  | 180 | https://www.elfadistrelec.no/no/rekkeklemme-for-kretskort-14-mm-massiv-eller-flertradet-54-mm-phoenix-contact-1725669/p/14835419
61 |  | Screw terminals 4 pos | 1 | 10 | 10 | 6 | 2 |  | 2 | 30 |  |  | 30 | https://www.elfadistrelec.no/no/rekkeklemme-for-kretskort-14-mm-massiv-eller-flertradet-54-mm-phoenix-contact-1725672/p/14835427
62
63 |  | Lagopus board A | 1 | 10 | 10 | 6 | 2 |  | 2 | 30 |  |  | 30 | https://www.seeedstudio.com/
64 |  | Lagopus board B | 1 | 10 | 10 | 6 | 2 |  | 2 | 30 |  |  | 30 | https://www.seeedstudio.com/
65 |  | 90 deg head, 4 pos | 1 | 10 | 10 | 6 | 2 |  | 2 | 30 |  |  | 30 | https://no.farnell.com/multicomp/mc34749/header-1-row-r-angle-4way/dp/1593428
66 |  | Cable, 4 wire, 1m | 1 | 10 | 10 | 6 | 2 |  | 2 | 30 |  |  | 30 | https://www.elfadistrelec.no/no/slepekjedekabel-polyuretan-25-mm-100-helukabel-supertronic-pur-49666/p/30112687?q=supertronic&filter_Antall+kjerner=4&page=1&origPos=9&origPageSize=50&simi=97.51
67
68 | Sensors | Maxbotix |  | 10 | 10 | 0 | 2 |  | 2 | 24 |  |  | 24 | https://www.maxbotix.com/Ultrasonic_Sensors/MB7389.htm
69 |  | Atmos 22 (DS-2) |  | 9 | 3 | 0 | 2 |  | 1 | 15 | 9 |  | 6 | https://www.metergroup.com/environment/products/atmos-22-sonic-anemometer/
70 |  | Temp-string |  | ??? | 5 | 6 | 0 |  | 0 | 11 |  |  | 11 | https://www.John.hulth.se
71
72
73
74
75
76
77